## Slide 1: Automatic Calibration of Multiplexed TES Systems
SRON Researcher:
Damian Audley
Supervisor:
Myroslav Kavatsyuk
Tom van Rees

## Slide 2: Table of Contents
Introduction
Singular TES detector
  Theory & Setup
  Results
Multiplexed TES detectors
  Theory & Setup
  Results
  Improvements

## Slide 3: Introduction
TES: Transition Edge Sensor
Cryogenic Thermal Detectors -> Photons
ATHENA Mission
X-IFU -> X-ray
~3000 TES
Fig 1: Athena Telescope, from: https://www.ncbj.gov.pl/en/bp4/athena-advanced-telescope-high-energy-astrophysics, Accessed: 10/10/2021

## Slide 4: Need of Research
Manual Analysis
Different Setup
Raw Data
Analysis
Export Parameters

## Slide 5: Transition Edge Sensor (TES)
Fig 2: TES Bath. M. D. Audley et al., “Performance of a low-noise test facility for the safari TES bolometer arrays,” Journal of Low Temperature Physics, vol. 167, no. 3, pp. 208–213 (2012)
Tc = ~ 0.1 K
Weakly linked to Heat Bath
Large amount of parameters

## Slide 6: Transition Edge Sensor
SQUID: Superconducting QuantUm
Interference Device
Readout values: Ibias and Vfb
Fig 3: Single TES Detector Electrical Setup
Fig 4: Raw IV Data
3 Regions: Ohmic, Transition, Superconducting
Further Analysis

## Slide 7: Power Plateaus
Fig 5: Power – Resistance Curve
Fig 6: IV Curve with loadline
Fig 7: Power – Resistance Curve

## Slide 8: Final Parameters
Fig 8: Thermal Conductance Plot. C. Blair, “Design of Software Routines for Automatic Calibration of Transition Edge Sensors”, University of Groningen (2019)
Use Tbath and power values
Thermal Conductance G
Critical Temperature Tc

## Slide 9: Results
2 Authors: Callum & Arnold
Callum
Reading datasets
Handling single datasets for inspection
Calculating parameters of individual datasets
Calculating parameters across multiple datasets
Arnold
Reading datasets
Convert to training data
Building Neural Network for identifying datasets
Applying NN on datasets for classification
Raw Data
(.qdp, .xlsx, .dat)
NN Data Selection
Classifier
Single Sided Analysis
Export Parameters
Double Sided Analysis
IVcurve_double
Export Parameters

## Slide 10: What have I done?
Combine Arnold’s & Callum’s Work
Look Into Fitting Method
Fig 9: (Left) Example of points used for fitting. (Right) Distribution of distances of the points to the line
Fig 11: (Left) Example of points used for fitting. (Right) Distribution of distances of the points to the line
Fig 10: IV curve with loadline

## Slide 11: What have I done?
Exponential Distribution
Linear + Exponential Equation
Fig 12: (Left) Example of points used for fitting. (Right) Distribution of distances of the points to the line
Fig 13: (Left) Example of points used for fitting. (Right) Distribution of distances of the points to the line

## Slide 12: What have I done?
Fig 14: Variance of single sided fits for various number of fits
Fig 15: Variance of double sided fits for various number of fits

## Slide 13: What have I done?
Fig 16: Power – Resistance curve using linear fitting method
Fig 17: Power – Resistance curve using exponential fitting method

## Slide 14: Frequency Domain Multiplexing
Chaining TES Together
LC Circuits -> Different Frequencies
1 – 3.8 MHz (16kHz)
AC-Voltage bias Source
Readout values: Vfb and Vbias
Fig 18: Multiplexed TES Sensors, R. A. Hijmering et al., “Readout of 176 pixel FDM system for SAFARI TES arrays”, Millimeter, Submillimeter and Far-Infrared Detectors and Instrumentation for Astronomy VIII. Vol: 9941 (2016)
6.72mm
Fig 19:TES Sensors Array

## Slide 15: Results
Fig 21: Absorbed Joule Power per Pixel
Calibrated IV curve
TES placed in a grid
Absorbed power per pixel
Fig 20: Single Sided IV Curve
Fig 22: Power – BB Temperature Plot

## Slide 16: Summary
New Fitting Method
Extended Analysis
Time Saving
https://github.com/TomR21/TES-Analysis-Program
Raw Data
(.qdp, .xlsx, .dat)
NN Data Selection
Classifier
Single Sided Analysis
Ivcurve_single
Export Parameters
Double Sided Analysis
IVcurve_double
Export Parameters

## Slide 17: Improvements
FDM System:
- Simultaneous Pixel Measurements
- Better Understanding
Software:
- Generalizable Data Reading
- Error Estimation
- Josephson Inductance

## Slide 18: Thanks for listening!
https://github.com/TomR21/TES-Analysis-Program